## Slide 1: STRUCTURE OF Power systems & energetic Objects
Ana markovic

## Slide 2
Electric power is indispensable for any modern society. Even though energy appears in many different forms, the vast majority of all energy delivered from one point to another across the country is handled by ac power systems. Transporting electric energy most efficiently from place to place becomes extremely important.
Electric power generation, transmission, distribution, and utilization are the features of any practical power system. Most electric energy has been generated by steam-powered and by water-powered. Steam plants are fueled primarily by coal, gas, oil, and uranium. Coal is the most widely used fuel. Other types of electric power generation are wind-turbine generators, solar-cell arrays, tidal power plants, and geothermal power plants, wherein energy in the form of steam or hot water is extracted from the earth’s upper crust.

## Slide 3
The structure of a power system can be divided into generation (G), transmission, (T), and distribution (D) facilities.
An AC three-phase generating system provides the electric energy; this energy is transported over a transmission network, designed to carry power at high or extrahigh voltages over long distances from generators to power substations and major load points.
These transmission system, in general, consists of overhead transmission lines (on transmission towers), transformers to step up or step down voltage levels, substations, and various protective devices.

## Slide 4
One of the great advantages of AC current is the efficiency with which power at low voltage can be transformed into a similar amount of power at high voltage and invertedly .A large amount of power can be transmitted by overhead lines or underground cables at high voltage with a small current. The voltage depends on consuming devices such as lighting, heating or motors. The voltage is first reduced by step-down transformers.At this voltage the energy is distributed to various parts of the city. This voltage is still too high for ordinary use, co it is reduced by means of strep-down transformers. These transformers installed in city streets are utilized for lighting and heating purposes.Places that are far from available water-plants generally use steam power to turn their generators. With improved transformers, it is possible to distribute electric power over wide areas, that formerly utilized steam power or were without electricity.

## Slide 6: OBJECTS
A POWER STATION (a power plant) is an industrial facility for
the generation of electric power. Power stations are generally
connected to an electrical grid.Many power stations contain one
or more generators (a rotating machine that converts mechanical power into three-phase electric power.
Most power stations in the world burn fossil fuels such as coal, oil, and natural gas to generate electricity. Clean energy sources include nuclear power, and an increasing use of renewables such as solar, wind, wave, geothermal, and hydroelectric.

## Slide 7: Substation
A substation is a part of an electrical generation, transmission, and distribution system. Substations transform voltage from high to low, or the reverse, or perform any of several other important functions. Between the generating station and consumer, electric power may flow through several substations at different voltage levels.
A substation may include transformers to change voltage levels between high transmission voltages and lower distribution voltages, or at the interconnection of two different transmission voltages.

## Slide 8
Elements of a substation
A: Primary power lines' side A: Primarna strana
B: Secondary power lines' side B:Sekundarna strana
1. Primary power lines Dalekovod primarne strane
2. Ground wire Zaštitni vod
3. Overhead lines Nadzemni vod
4. Transformer for measurement of electric voltage Naponski transformator
5. Disconnect switch Rastavljač
6. Circuit breaker Prekidač
7. Current transformer Strujni transformator
8. Lightning arrester Odvodnik prenapona
9. Main transformer Energetski transformator
10. Control building Kontrolna zgrada
11. Security fence Zastitna ogrda
12. Secondary power lines Dalekovod sekundarne strane

## Slide 9: Power lines
An overhead power line is a structure used in electric power transmission and distribution to transmit electrical energy across large distances
It consists of one or more uninsulated electrical cables (commonly multiples of three for three- phase power)suspended by towers or poles.